NAME: _______________________

Photosynthesis and Respiration

Ewelina Rosa

Plants make sugar, storing the energy of the sun into chemical energy, by the process of photosynthesis. When they require energy, they can tap the stored energy in sugar by a process

called cellular respiration.

The process of photosynthesis involves the use of light energy to convert carbon dioxide and

water into sugar, oxygen, and other organic compounds. This process is often summarized by

the following reaction:

Cellular respiration refers to the process of converting the chemical energy of organic molecules

into a form immediately usable by organisms. Glucose may be oxidized completely if sufficient

oxygen is available by the following equation:

OBJECTIVES

In this experiment, you will

- use an O2 Gas Sensor to measure the amount of oxygen gas consumed or produced by a

plant during respiration and photosynthesis.

- use a CO2 Gas Sensor to measure the amount of carbon dioxide consumed or produced by a plant during respiration and photosynthesis.

- determine the rate of respiration and photosynthesis of a plant.

MATERIALS

- LabPro interface

- 250-mL respiration chamber

- TI Graphing Calculator plant leaves

- DataMate program

- 500-mL tissue culture flask

- Vernier O2 Gas Sensor

- lamp

- Vernier CO2 Gas Sensor

- aluminum foil

- CO2–O2 Tee

- forceps

PROCEDURE

1. Plug the O2 Gas Sensor into Channel 1 and the CO2 Gas Sensor into Channel 2 of the

LabPro interface. Use the link cable to connect the TI Graphing Calculator to the

interface. Firmly press in the cable ends.

2. Turn on the calculator and start the DATAMATE program. Press CLEAR to reset the program.

3. Set up the calculator and interface for an O2 Gas Sensor and CO2 Gas Sensor.

a. Select SETUP from the main screen.

b. If the calculator displays an O2 Gas Sensor in CH 1 and a CO2 Gas Sensor in CH2, proceed directly to Step 4. If it does not, continue with this step to set up your sensors manually.

c. Press ENTER to select CH 1.

d. Select OXYGEN GAS from the SELECT SENSOR menu.

e. Select parts per thousand (PPT) as the unit.

f. Press once, then press ENTER to select CH2.

g. Select CO2 GAS from the SELECT SENSOR menu.

h. Select parts per thousand (PPT) as the unit.

4. Set up the data-collection mode.

a. To select MODE, press (the up arrow key) twice and press ENTER .

b. Select TIME GRAPH from the SELECT MODE menu.

c. Select CHANGE TIME SETTINGS from the TIME GRAPH SETTINGS menu.

d. Enter “15” as the time between samples in seconds.

e. Enter “40” as the number of samples (data will be collected for 10 minutes).

f. Select OK twice to return to the main screen.

5. Obtain several leaves from the resource table and blot them dry, if damp, between two pieces

of paper towel.

6. Place the leaves into the respiration chamber, using forceps if necessary. Wrap the

respiration chamber in aluminum foil so that no light reaches the leaves.

7. Insert the CO2–O2 Tee into the neck of the respiration chamber. Place the O2 Gas Sensor into

the CO2–O2 Tee as shown in Figure 1. Insert the sensor snugly into the Tee. The O2 Gas

Sensor should remain vertical throughout the experiment. Place the CO2 Gas Sensor into the

Tee directly across from the respiration chamber as shown in Figure 1. Gently twist the

stopper on the shaft of the CO2 Gas Sensor into the chamber opening. Do not twist the shaft

of the CO2 Gas Sensor or you may damage it.

8. Wait two minutes, then select START to begin data collection. Data will be collected for 10

minutes.

9. When data collection has finished, remove the aluminum foil from around the respiration

chamber.

10. Fill the tissue culture flask with water and place it between the lamp and the respiration

chamber. The flask will act as a heat shield to protect the plant leaves.

11. Turn the lamp on. Place the lamp as close to the leaves as reasonable. Do not let the lamp

touch the tissue culture flask.

12. Press ENTER to view the graph of O2 GAS VS. TIME. Sketch a copy of your graph in the Graph

section below. When finished, press ENTER to return to the graph menu.

Press once, then press ENTER to view the graph of CO2 GAS VS. TIME. Sketch a copy of

your graph in the Graph section below. When finished, press ENTER to return to the graph

menu. Select MAIN SCREEN from the graph menu.

13. Perform a linear regression to calculate the rate of respiration/photosynthesis.

a. Select ANALYZE from the main screen.

b. Select CURVE FIT from the ANALYZE OPTIONS menu.

c. Select LINEAR (CH 1 VS TIME) from the CURVE FIT menu.

d. The linear-regression statistics for these two lists are displayed for the equation in the

form:

e. Enter the value of the slope, A, as the rate of respiration/photosynthesis in Table 1.

f. Press ENTER to view a graph of the data and the regression line.

g. Press ENTER to return to the ANALYZE menu.

h. Repeat Steps 13b – 13g to calculate the respiration/photosynthesis rate using the data

from the CO2 Gas Sensor (CH 2 VS TIME).

i. Select RETURN TO MAIN SCREEN from the ANALYZE menu.

14. Repeat Steps 8 – 13 to collect data with the plant exposed to light.

15. Remove the plant leaves from the respiration chamber, using forceps if necessary. Clean and

dry the respiration chamber.

GRAPHS

QUESTIONS

1. Were either of the rate values for CO2 a positive number? If so, what is the biological

significance of this?

2. Were either of the rate values for O2 a negative number? If so, what is the biological

significance of this?

3. Do you have evidence that cellular respiration occurred in leaves? Explain.

4. Do you have evidence that photosynthesis occurred in leaves? Explain.

5. List five factors that might influence the rate of oxygen production or consumption in leaves.

Explain how you think each will affect the rate?

EXTENSIONS

1. Design and perform an experiment to test one of the factors that might influence the rate of

oxygen production or consumption in Question 5.

2. Compare the rates of photosynthesis and respiration among various types of plants.